## Augmented Blood Pressure Cuff
Component | ID | Description | Justification | Link | Unit Cost | Quantity/Assembly | Assemblies | Total Cost
Raspberry Pi |  | Micro-computer | Needed to control the ABPCuff device | https://www.amazon.com/CanaKit-Raspberry-Power-Supply-Listed/dp/B07BC6WH7V | 49.99 | 1 | 200 | 9998
SD card |  | 16GB SD card | Needed to store the OS controlling the ABPCuff | https://www.amazon.com/SanDisk-Ultra-Micro-Adapter-SDSQUNC-016G-GN6MA/dp/B010Q57SEE/ref=sr_1_7?ie=UTF8&qid=1522200747&sr=8-7&keywords=16+sd+card | 10.99 | 1 | 200 | 2198
Display |  | 10" IPS Display | Needed to display the sphygnomonometer dial | https://www.amazon.com/dp/B01J52TWD4/ref=sr_1_1_twi_col_2?s=electronics&ie=UTF8&qid=1522200989&sr=1-1&keywords=screen+raspberry+pi | 105.99 | 1 | 200 | 21198
ADC |  | 16bit ADC | Needed to convert the analog signal from the pressure sensor into a digital signal | https://www.adafruit.com/product/1085 | 14.95 | 1 | 200 | 2990
Pressure sensor |  |  |  |  | 15 | 1 | 200 | 3000
Clear silicone tubing |  |  |  |  | 0 | 1 | 200 | 0
PCB |  |  | Needed to consolidate electronics | https://www.oshpark.com | 30 | 1 | 200 | 6000
[5 empty] | 0 | 1 | 200 | 0
Housing/Enclosure |  | 3D Printed Part | Needed to consolidate entire ABPCuff device
Pressure sensor adapter |  | 3D Printed Part | Needed to connect and strain relief silicone tubing to pressure sensor | https://www.amazon.com/HATCHBOX-3D-Filament-Dimensional-Accuracy/dp/B00J0ECR5I/ref=pd_lpo_vtph_328_bs_t_1?_encoding=UTF8&psc=1&refRID=RK4H146PPY13NF1ZZTYV | 22.99 | 1 | 200 | 4598
Labor |  | Assembly | Needed for: |  | 15 | 1 | 200 | 3000
Installation of Raspbian OS
Assembly of components
Installation of Contorl Software
[7 empty] | Total = | 52982
Note on F6: fluviolobo: Need to review this value
Note on F8: fluviolobo: Estimate on direct order from OshPark
Note on F11: fluviolobo: I am basing the cost of the print on the material